EXP | ARC  ·  FREE GUIDE

The Loft, Garage & Basement Guide

Head heights, the staircase trap, and the approvals that make a conversion work.

This is the editable Word version. The PDF and all our other guides are at exparc.co.uk/free-guides

1. Your approval routes

| Route | When it applies | What you submit |
| --- | --- | --- |
| Permitted Development | Lofts within volume limits that keep the roof shape | Lawful development certificate advised |
| Full Planning | Dormers on the front, terraced homes, conservation areas | Full application with drawings |
| Building Regulations | Every conversion, without exception | Technical drawings and building control notice |

2. What trips people up

2.2m at the ridge is the practical benchmark, and floor build-up plus insulation can take 0.3m of that before you start.

Stairs are the hidden £5,000 to £10,000 problem: 2.0m headroom, 1.9m and 1.8m on sloped runs, and a 42° maximum pitch.

Trussed roofs need structural work to open up, which changes both cost and drawings.

A garage conversion still needs damp, insulation and ventilation to comply, even when no planning is required.

3. What it costs

Typical UK market ranges, so you can sanity-check any quote you receive.

| What | Typical UK range | Who it is paid to |
| --- | --- | --- |
| Planning drawings | £1,200 – £2,500 | Your drawing practice |
| Full set incl. Building Regs | £2,500 – £5,000 | Your drawing practice |
| Council application fee | £548 (householder, England, from April 2026) | Local authority |
| Structural engineer | £700 – £2,000 | Engineer, where structure changes |
| Measured survey | Up to £450, or £0 with a guided self-survey | Surveyor |

4. How long it takes

| Stage | Typical time |
| --- | --- |
| Free planning-route check | Same working day |
| First draft drawings | 10 working days |
| Revisions until you are happy | Unlimited, usually 1 to 2 rounds |
| Council decision | 6 to 8 weeks from validation |
| Building Regulations set | 1 to 2 weeks after approval |

5. Your checklist

☐  Measure ridge height in several places

☐  Plan the staircase before the layout

☐  Check permitted development limits for your house type

☐  Allow for insulation and floor build-up

☐  Confirm the roof structure

☐  Commission a Building Regulations set

☐  Book building control inspections

6. Questions people ask

Is my loft tall enough?

Send us the ridge height and we will tell you honestly. Where it is tight, a dormer or hip-to-gable usually solves it, and we say so before you spend on design.

Do I need planning permission for a dormer?

Rear dormers are often permitted development within volume limits. Front dormers and terraced properties are far more likely to need a full application.

Can a garage conversion be done without approval?

Building Regulations always apply. Planning permission often does not, but we confirm your position in writing first.

Get your free planning-route check

Send your postcode and what you are planning. You get the route in writing, the drawings you need, and one fixed price, usually the same working day. If any application we submit is refused, you get a 100% refund within 5 days.

exparc.co.uk/get-a-quote  ·  info@exparc.co.uk  ·  +44 118 207 2681

General information for UK projects, not planning advice for a specific property. Exp-Arc Limited, company no. 16980239.