EXP | ARC  ·  FREE GUIDE

The Renovation Planning Guide

How drawings and Building Regulations keep a refurbishment on budget.

This is the editable Word version. The PDF and all our other guides are at exparc.co.uk/free-guides

1. Your approval routes

| Route | When it applies | What you submit |
| --- | --- | --- |
| No planning needed | Most internal works and like-for-like refurbishment | Nothing, but Building Regs still apply |
| Building Regulations | Structure, drainage, ventilation, insulation, electrics | Technical drawings and building control notice |
| Full Planning | External changes, listed buildings, conservation areas | Full application with drawings |

2. What trips people up

Not needing planning permission does not mean not needing approval. Building Regulations still apply to structure and services.

Moving a kitchen or bathroom means drainage, ventilation and often structural work.

Decisions made on site are the expensive kind. A coordinated set prevents them.

Without a proposed set, every builder prices a different job and the quotes cannot be compared.

3. What it costs

Typical UK market ranges, so you can sanity-check any quote you receive.

| What | Typical UK range | Who it is paid to |
| --- | --- | --- |
| Planning drawings | £1,200 – £2,500 | Your drawing practice |
| Full set incl. Building Regs | £2,500 – £5,000 | Your drawing practice |
| Council application fee | £548 (householder, England, from April 2026) | Local authority |
| Structural engineer | £700 – £2,000 | Engineer, where structure changes |
| Measured survey | Up to £450, or £0 with a guided self-survey | Surveyor |

4. How long it takes

| Stage | Typical time |
| --- | --- |
| Free planning-route check | Same working day |
| First draft drawings | 10 working days |
| Revisions until you are happy | Unlimited, usually 1 to 2 rounds |
| Council decision | 6 to 8 weeks from validation |
| Building Regulations set | 1 to 2 weeks after approval |

5. Your checklist

☐  List every structural change, however small

☐  Map the existing drainage before redesigning

☐  Get proposed layouts drawn to scale

☐  Prepare a Building Regulations set

☐  Fix the scope before fixing the price

☐  Keep the completion certificate for resale

6. Questions people ask

Do I need drawings if I am not extending?

If you are moving walls, drainage or services, yes. They are what keeps builders pricing the same scope and building control satisfied.

Will I need a structural engineer?

Where you remove or alter load-bearing elements, yes. We flag it up front so it is in your budget rather than a surprise.

How long does it take?

First draft drawings within 10 working days, with a Building Regulations set following once the layout is settled.

Get your free planning-route check

Send your postcode and what you are planning. You get the route in writing, the drawings you need, and one fixed price, usually the same working day. If any application we submit is refused, you get a 100% refund within 5 days.

exparc.co.uk/get-a-quote  ·  info@exparc.co.uk  ·  +44 118 207 2681

General information for UK projects, not planning advice for a specific property. Exp-Arc Limited, company no. 16980239.